## Slide 1
Model-based medical image analysis
Ela Claridge
School of Computer Science

## Slide 2
Image formation

## Slide 3: How digital images come into being?
Some theory ….

## Slide 4: Image resolutions

## Slide 5: Image resolutions

## Slide 6: Image resolutions
Brightness
PSF
Point Spread Function

## Slide 7: Spectral properties
800 nm = 3.8 x 1014 Hz
400 nm = 7.5 x 1014 Hz
Amplitude

## Slide 8: Spectral properties
Reflected, transmitted or emitted light collected by a camera forms an image
Monochrome (B/W) – collects all visible light
Colour – three broad bands (RGB)
Multispectral – several – several tens of bands (broad or narrow)
Hyperspectral – many (hundreds) narrow bands

## Slide 9: Spectral properties
400
500
600
700
l(nm)
S(l)
400
500
600
700
l(nm)
S(l)
RGB – broad-band filters

## Slide 10: Spectral properties
400
500
600
700
l(nm)
S(l)
400
500
600
700
l(nm)
S(l)
Narrow-band filters

## Slide 11: Image resolutions - Summary
Pixel
Spatial
Radiometric
Spectral
Temporal

## Slide 12: What’s in the image data?

## Slide 13: What’s in the image data?
Contributing factors
  Light
  Object
  Imaging system

## Slide 14: Reflected / remitted light (continuous)

## Slide 15: Image acquisition

## Slide 16: What’s in the image data?
dl

in(x) =
Spectrum
Image data
I0(x,l)
Illuminant
R(x,l)
Object reflectance
Fn(l)
Filter Transmittance
Q(l)
Camera Quantum Efficiency

## Slide 17: Spectra of common light sources
Daylight
Xenon
Mercury
Halogen

## Slide 18: Imaging system
Quantum Efficiency
Filter
Transmittance
Image values recorded by the imaging device are affected by its optical properties, such as quantum efficiency

## Slide 19: Spectral sensitivity (Quantum efficiency) curves for a colour camera

## Slide 20: Imaging system: filters
A filter is a device which selectively transmits light having a particular range of wavelengths while blocking the remainder

## Slide 21: Imaging system: filters
Bandpass filter
Long-pass filter

## Slide 22: Removing effects of the imaging system

## Slide 23: What’s in the image data?
dl

in(x) =
I0(x,l)
Illuminant
R(x,l)
Object reflectance
Fn(l)
Filter Transmittance
Q(l)
Camera Quantum Efficiency

## Slide 24: Calibration
dl

in(x) =
I0(x,l)
R(x,l)
Fn(l)
Q(l)
dl

Q(l)
Qn =
dl

F(l)
Fn =
dl

I(l)
In =
Measure In, Qn, Fn
R(x) = in(x) / (In  Qn  Fn)

(Also normalise for different exposure times)

## Slide 25: Removing effects of the imaging system

## Slide 26: Removing effects of the imaging system

## Slide 27: Removing effects of the imaging system

## Slide 28: Conclusion
We want to analyse tissue properties, not image properties!

## Slide 29: Diagnostic imaging
Looking and listening to light: the evolution of whole-body photonic imaging
Ntziachristos et al. Nature Biotechnology 23, 313 - 320 (2005)
Emission