## Slide 1: Modelling of light-tissue interactions

## Slide 2: Colour – a carrier of information
Retina
Colon
Skin
Cells

## Slide 3: Key ideas
Light emitted by a light source interacts with the interior of a tissue
Through these interactions the spectral composition of light is altered
The remitted spectrum depends on the internal structure and composition of the tissue and in this way encodes its properties
If this encoding is understood, it should be possible to deduce the structure and composition of the tissue from its colour

## Slide 4: Key ideas
Disease processes often change the tissue structure and thus the observed colouration
Colour is used in diagnosis and assessment of tissues
The understanding of the image formation process enables us to decipher the colour encoding of tissue properties

## Slide 5
How do the colours that we see on the surface arise?

## Slide 6: Light interaction with tissue

## Slide 7: Light – some properties
800 nm = 3.8 x 1014 Hz
400 nm = 7.5 x 1014 Hz
c = f  
c – speed of light in a vacuum
f – frequency
 – wavelength
Amplitude

## Slide 8: Image formation model
Absorption
Scatter
Graphs from Steve Jacques’ website
The order of layers
Layer thickness
Optically active components
  Type
  Quantity
  Properties
Tissue model
http://omlc.ogi.edu/education/ece532/class3/

## Slide 9: Object properties
Graphs from Steve Jacques’ website
Absorption
I
a
http://omlc.ogi.edu/education/ece532/class3/

## Slide 10: Object properties
Absorption
Red object
Spectral reflectance

## Slide 11: Image formation model
Absorption coefficients

## Slide 12: Transmittance and absorbance
Beer - Lambert law
Transmittance
d = path length (thickness)
- absorption coefficient
Absorbance (optical density)

## Slide 13: Object properties
Graphs from Steve Jacques’ website
Scatter
I
s
http://omlc.ogi.edu/education/ece532/class3/

## Slide 14: Main tissue scatterers
http://omlc.ogi.edu/education/ece532/class3/

## Slide 15: Anisotropy
The anistotropy, g [dimensionless], is a measure of the amount of forward direction retained after a single scattering event. A photon is scattered by a particle so that its trajectory is deflected by a deflection angle. The new trajectory is aligned in the forward direction (shown in red as cos()).
http://omlc.ogi.edu/education/ece532/class3/

## Slide 16: Henyey-Greenstein scattering function
The scattering function, p() [sr-1] describes the probability of a photon scattering into a unit solid angle oriented at an angle relative to the photons original trajectory.
http://omlc.ogi.edu/education/ece532/class3/

## Slide 17: Reduced scattering coefficient
µs' = µs(1 - g) [cm-1]
http://omlc.ogi.edu/education/ece532/class3/

## Slide 18: Object properties
Scatter

## Slide 19: Examples of scatter coefficient

## Slide 20: Examples of scatter effects
Reflectance spectra for layers of thickness of Layer 1 from 1 to 15 microns

## Slide 21: Refraction
Refractive index is a dimensionless number that describes how radiation propagates through that medium.
c is the speed of light in
v is the speed of light in the substance
Snell’s law:

## Slide 22
Skin example

## Slide 23: Optical model of the normal skin
Epidermis
Papillary dermis
Reticular dermis
Stratum Corneum
Absorption
Forward scatter
Forward scatter
Backscatter
Absorption
Diffusion
Based on physics of image formation

## Slide 24: Image formation model
Wavelength (l) dependent set of absorption coefficients for melanin, mam(l), and the melanin concentration, cm
Absorption coefficients for haemoglobin, mah(l), the haemoglobin concentration, ch, the scatter coefficient for collagen, mspd, and the thickness of the collagen layer, dpd
Scatter coefficient, msrd, and the layer thickness, drd
Skin structure and its optical properties
Epidermis
Papillary demis
Stratum corneum
Reticular demis
Image source: http://pathology.mc.duke.edu/research/Histo_course/epi3.jpg
Tissue model

## Slide 25: Image formation model
The incident light interacts with the tissue. As a result of this interaction any remitted light has its spectrum altered depending on the tissue composition.
Incident light
Diffusion
Absorption & forward scatter
Absorption & backscatter
Forward scatter
Remitted spectrum
The spectral composition of the light remitted from the skin, R(l):
R(l) = Model_of_light_transport( E(l),am(l), cm, mah(l), ch, mspd, dpd, msrd, drd )
Light – tissue interaction

## Slide 26: Image formation model
An imaging device captures and integrates specific portions of the remitted spectra and generates a single value for each spectral filter Fi.
An image vector [i1 i2 … in] is derived from the remitted spectrum R(l) by convolving it with spectral response functions for the appropriately selected bandpass filters, F1(l), F2(l),…, Fn(l):
¥
i1 =
õ
ó
0
R
(
l
)
F
1
(
l
)
d
l
0
i2 =
õ
ó
¥
R
(
l
)
F
2
(
l
)
d
l
in =
õ
ó
0
¥
R
(
l
)
F
n
(
l
)
d
l
. . . . .
i1
i2
in
Imaging system
F1
F2
Fn

## Slide 27: What’s in the image data?
dl

in(x) =
Spectrum
Image data
I0(x,l)
Illuminant
R(x,l)
Object reflectance
Fn(l)
Filter Transmittance
Q(l)
Camera Quantum Efficiency

## Slide 28: Tissue reflectance model: the ground truth
Parameters
p  P
Spectra
l  L
Image values
i  I
a : P  L
b : L  I
f = a  b : P  I
I0(x,l)
R(x,l)
Q(l)
Fn(l)
dl

in(x) =
Forward model of image formation in abstraction


## Slide 29
Prediction (forward mapping)

## Slide 30: Absorption and scatter coefficients

## Slide 31: Replace by single chosen curves

## Slide 32: Forward mapping algorithm
Constants
Parameters
Spectra
Image values
given
incident light
absorption and scatter coefficients for all the components
the spatial arrangement of the components
for all concentrations and thicknesses of parameter p1
for all concentrations and thicknesses of parameter p2
. . .
for all concentrations and thicknesses of parameter pK
compute l = a( p1, p2, …, pK )
Physics theory of light propagation in matter
Kubelka-Munk or Monte Carlo
convolve each l with a set of filter response functions (RGB)

## Slide 33: Image formation as a two-step mapping
Parameters
p  P
Spectra
l  L
Image values
i  I
a : P  L
b : L  I
f : P  I
f = a  b : P  I

## Slide 34: From parameters to spectra

## Slide 35: From parameters to spectra

## Slide 36: From spectra to colours

## Slide 37: Skin colour modelling

## Slide 38: Analysis of the ocular fundus
Incident Light
Remitted Light
Vitreous
Retina
RPE
Choroid
Sclera

## Slide 39: Analysis of colon epithelium
Incident light
Muscularis
externa
Submucosa
Mucosa

## Slide 40: Analysis of colon epithelium
Blood volume fraction
1.07 % - 10.2 %
wavelength (nm)
intenisty
Size of collagen fibres
100 - 500 µm
wavelength (nm)
intenisty
Thickness
395 - 605 µm
wavelength (nm)
intenisty
Collagen volume fraction
4 % - 20%
wavelength (nm)
intenisty

## Slide 41: Inverse solution
Parameters
Spectra
Image values
p  P
l  L
i  I
a : P  L
b : L  I
f = P  I
f -1 : I  P

## Slide 42: Inverse solution: skin cancer diagnosis
Collagen
Melanin
Blood