## Slide 1: Reconstruction from projections
Acknowledgement:
Blue-background slides compiles from a presentation of Terry Peters, Robarts Research Institute, London Canada

## Slide 2: Standard x-ray

## Slide 4: Principle of backprojection
Each pixel in the image represents a voxel of tissue in the patient
A raysum is the sum of absorption along the path of a single ray through the patient
The transmission of a beam through a single voxel

## Slide 5: Principle of backprojection
1 | 1 | 2
2 | 10 | 2
3 | 2 | 1
4
14
6
6 | 13 | 5
3
12
4
3
15
4

## Slide 6: Principle of backprojection
X1 | X2 | X3
X4 | X5 | X6
X7 | X8 | X9
4
14
6
6 | 13 | 5
3
12
4
3
15
4
X1+X2+X3=4
. . .
X4+X2=3
. . .
X1+X4+X7=6
. . .
X1+X5+X9=12
. . .
Solve for X1 ... X9

## Slide 7: Principle of backprojection

## Slide 8: Principle of backprojection
Matlab example

## Slide 12: Radon transform
p
p

## Slide 13: Radon transform

## Slide 14
Blur

## Slide 22: Radon transform
Matlab example